## HVAC2
Instructional Blueprint 2017-2018 Course: HVAC 2 Updated 6/7/18 | [14 empty] | Rev 5/14/13
Career & Technical Education Brevard Public Schools
Step 1: Determine how many 'units' of study are in the course. Create a name for each unit.
Standard (From FLDOE Framework) |  | (Step 2) IDENTIFY DESIRED RESULTS FLDOE CTE Framework OUTCOMES | (Step 3) Check Box |  |  | (Step 4) Know, Understand and Do (Checkboxes) |  |  | (Step 5) DETERMINE ACCEPTABLE EVIDENCE (Assessment) 1. How will we know if students have achieved the desired results and met the standards? 2. What will be accepted as evidence of student understanding and proficiency? | (Step 6) LEARNING EXPERIENCES & INSTRUCTION (Lesson Plan Title) What learning experiences promote understanding, interest, and excellence? | (Step 7) Time Frame (in Hours) | (Step 8) Essential and Unit Questions Questions deliberately framed to provoke and sustain student interest. | Units of Study |  | Industry Certification Exam Standard
|  |  | Enduring Understanding (Assessed) | Important to Know or Do (Could be assessed) | Worth being Familiar With | Know | Understand | Do |  |  |  |  | (Step 9) Unit Name | Unit Number
Florida Standard 01.0 | 01.01 Key Ideas and Details | 01.01.1 Cite specific textual evidence to support analysis of science and technical texts, attending to the precise details of explanations or descriptions. LACC.910.RST.1.1 |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher Observation | 1. Present to Peers 2. Graded Projects | 4 | Why do we search for evidence to support an explanation or description | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.01 Key Ideas and Details | 01.01.2 Determine the central ideas or conclusions of a text; trace the text’s explanation or depiction of a complex process, phenomenon, or concept; provide an accurate summary of the text. LACC.910.RST.1.2 |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher Observation | Accurately Summarize passage | 3 | How does one determine the central idea? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.01 Key Ideas and Details | 01.01.3Follow precisely a complex multistep procedure when carrying out experiments, taking measurements, or performing technical tasks, attending to special cases or exceptions defined in the text. LACC.910.RST.1.3 | X |  |  |  |  | X | 1. Performance tests 2. Performance sheets | Safety follows proper sequence | 3 | How does a process of steps come about in industry? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.02 Craft and Structure | 01.02.1 Determine the meaning of symbols, key terms, and other domain-specific words and phrases as they are used in a specific scientific or technical context relevant to grades 9–10 texts and topics. LACC.910.RST.2.4 | X |  |  |  |  | X | 1. Written tests 2. 70% on written tests | Determine the meaning of symbols of HVAC industry | 2 | Where do symbols come from, who chooses? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.02 Craft and Structure | 01.02.2 Analyze the structure of the relationships among concepts in a text, including relationships among key terms (e.g., force, friction, reaction force, energy). LACC.910.RST.2.5 |  | X |  |  | X |  | 1. Written/oral presentations 2. Teacher observations | Reading text to present relationships between key HVAC terms | 4 | What is an example of a relationship when it comes to HVAC terms | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.02 Craft and Structure | 01.02.3 Analyze the author’s purpose in providing an explanation, describing a procedure, or discussing an experiment in a text, defining the question the author seeks to address. LACC.910.RST.2.6 |  |  | X | X |  |  | 1. Presentation by teacher or assignment 2. Student reads text in class for presentation | Reading text to provide author's purpose & defining author's question | 2 | Why does an author write a book? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.03 Integration of Knowledge and Ideas | 01.03.1 Translate quantitative or technical information expressed in words in a text into visual form (e.g., a table or chart) and translate information expressed visually or mathematically (e.g., in an equation) into words. LACC.910.RST.3.7 |  | X |  |  | X |  | 1. Written/oral presentations 2. Teacher observations | Reading text to translate technical information into a visual presentation | 4 | What is a value of being able to show visual data samples or quantative text? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.03 Integration of Knowledge and Ideas | 01.03.2 Assess the extent to which the reasoning and evidence in a text support the author’s claim or a recommendation for solving a scientific or technical problem. LACC.910.RST.3.8 |  |  | X | X |  |  | 1. Presentation by teacher or assignment 2. Student reads text in class for presentation | Reading text to determine if author's claims are supported with evidence. | 2 | Why is it critical to check on author's claim & assumptions? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.03 Integration of Knowledge and Ideas | 01.03.3 Compare and contrast findings presented in a text to those from other sources (including their own experiments), noting when the findings support or contradict previous explanations or accounts. LACC.910.RST.3.9 |  |  | X | X |  |  | 1. Presentation by teacher or assignment 2. Student reads text in class for presentation | Reading text, comparing & contrasting, other sources | 2 | What will you do if other sources contradict what you believe to be true? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.04 Range of Reading and Level of Text Complexity | 01.04.1By the end of grade 9, read and comprehend literature [informational texts, history/social studies texts, science/technical texts] in the grades 9–10 text complexity band proficiently, with scaffolding as needed at the high end of the range. |  |  | X | X |  |  | 1. Presentation by teacher or assignment 2. Student reads text in class for presentation | Practice Reading Skills | 3 | Why practice reading? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 01.0 | 01.04 Range of Reading and Level of Text Complexity | 01.04.2 By the end of grade 10, read and comprehend literature [informational texts, history/social studies texts, science/technical texts] at the high end of the grades 9–10 text complexity band independently and proficiently. LACC.910.RST.4.10 |  |  | X | X |  |  | 1. Presentation or assignment by teacher 2. Student read text in class for presentation | Practice Reading Skills | 3 | What value does being a good reader have in doing HVAC? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.01 Text Types and Purposes | 02.01.1 Write arguments focused on discipline-specific content. LACC.910.WHST.1.1 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Write an argument against an HVAC standard, rule, or belief | 4 | What are the positives to an argument? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.01 Text Types and Purposes | 02.01.2 Write informative/explanatory texts, including the narration of historical events, scientific procedures/experiments, or technical processes. LACC.910.WHST.1.2 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice writing Skills | 4 | What are the arguments against being able to write well? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.01 Text Types and Purposes | 02.01.3 Write precise enough descriptions of the step-by-step procedures they use in their investigations or technical work that others can replicate them and (possibly) reach the same results. LACC.910.WHST.1.3 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Reinforce understanding of procedures/practice writing skills | 2 | Why are written instructions better than verbal? "telephone game" | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.02 Production and Distribution of Writing | 02.02.1 Produce clear and coherent writing in which the development, organization, and style are appropriate to task, purpose, and audience. LACC.910.WHST.2.4 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice writing skills | 2 | How do you determine your audience? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.02 Production and Distribution of Writing | 02.02.2 Develop and strengthen writing as needed by planning, revising, editing, rewriting, or trying a new approach, focusing on addressing what is most significant for a specific purpose and audience. LACC.910.WHST.2.5 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice writing skills | 2 | Why do you determine your audience? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.02 Production and Distribution of Writing | 02.02.3 Use technology, including the Internet, to produce, publish, and update individual or shared writing products, taking advantage of technology’s capacity to link to other information and to display information flexibly and dynamically. LACC.910.WHST.2.6 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice using technology & word processing software | 4 | When will you ever need to write for a career? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.03 Research to Build and Present Knowledge | 02.03.1 Conduct short as well as more sustained research projects to answer a question (including a self-generated question) or solve a problem; narrow or broaden the inquiry when appropriate; synthesize multiple sources on the subject, demonstrating understanding of the subject under investigation. LACC.910.WHST.3.7 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice using technology & word processing software | 4 | Is the internet an accurate source of factual information? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.03 Research to Build and Present Knowledge | 02.03.2 Gather relevant information from multiple authoritative print and digital sources, using advanced searches effectively; assess the usefulness of each source in answering the research question; integrate information into the text selectively to maintain the flow of ideas, avoiding plagiarism and following a standard format for citation. LACC.910.WHST.3.8 |  | X |  |  | X |  | 1. Written presentation 2. Teacher Observation | Practice using technology & word processing software | 4 | How does one determine if something on the web is factual? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.03 Research to Build and Present Knowledge | 02.03.3 Draw evidence from informational texts to support analysis, reflection, and research. LACC.910.WHST.3.9 |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text for in class presentation. | Practice writing skills | 2 | Why reflect on a seemingly meaningless task? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 02.0 | 02.04 Range of Writing | 02.04. 1Write routinely over extended time frames (time for reflection and revision) and shorter time frames (a single sitting or a day or two) for a range of discipline-specific tasks, purposes, and audiences. LACC.910.WHST.4.10 |  | X |  |  | X |  | 1. Written assignment 2. Teacher observation | Practice writing skills (Bell work) | 2 | How much value is there in practicing a task? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.01 | Make sense of problems and persevere in solving them. MACC.K12.MP.1.1 | X |  |  |  |  | X | 1. Written/hands on test 2. 70% on written/hands on test | Practice critical thinking skills | 2 | Why not Google the answer? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.02 | Reason abstractly and quantitatively. MACC.K12.MP.2.1 |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Practice critical thinking skills | 2 | Can it help my health (strengthen my brain?) | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.03 | Construct viable arguments and critique the reasoning of others. MACC.K12.MP.3.1 |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Practice critical thinking skills | 2 | Isn't that being mean to critique others? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.04 | Model with mathematics. MACC.K12.MP.4.1 | X |  |  |  |  | X | 1. Written tests 2. 70% on written tests | Practice critical thinking skills | 2 | Why I will never use math in real life? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.05 | Use appropriate tools strategically. MACC.K12.MP.5.1 | X |  |  |  |  | X | 1. Performance test (Lab) 2. Performance sheets | Hands on learning & experience | 2 | What does it mean to use a tool strategically? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.06 | Attend to precision. MACC.K12.MP.6.1 |  | X |  |  | X |  | 1. Performance test (Lab) 2. Performance sheets | Hands on learning & experience | 2 | What is the difference between precision & quality? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.07 | Look for and make use of structure. MACC.K12.MP.7.1 |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Order/Critical Thinking | 2 | What is structure in your daily life? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 03.08 | Look for and express regularity in repeated reasoning. MACC.K12.MP.8.1 |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Order/Critical Thinking | 2 | How would you define critical thinking? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10 | 10.0 Maintain, test and troubleshoot electrical motors and their components for commercial heating and air-conditioning systems--The student will be able to: | [10 empty] | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.01 | 10.01 Explain how alternating current is developed and draw a sine wave. |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Industry specific common knowledge | 2 | Where does AC voltage come from? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.02 | 10.02 Identify single-phase and three-phase wiring arrangements. |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Industry specific common knowledge | 2 | Describe the difference between a 1 & 3 phase circuit | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.03 | 10.03 Explain how phase shift occurs in inductors and capacitors. |  |  | X | X |  |  | 1. Presented or assigned by teacher 2. Student read text in class for presentation. | Industry specific common knowledge | 2 | What is the difference between inductive & capacitance? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.04 | 10.04 Describe the types of capacitors and their applications. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific common knowledge | 2 | Describe the differences between a cap. & a battery | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.05 | 10.05 Explain the operation of single-phase and three-phase induction motors. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific common knowledge | 2 | Where are 3 phase motors used & 1 phase motors used? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.06 | 10.06 Identify the various types of single-phase motors and their applications. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific common knowledge | 2 | What are the different motors in residential AC? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.07 | 10.07 State and demonstrate the safety precautions, such as lock out / tag out, which must be followed when working with electrical equipment. | X |  |  |  |  | X | 1. Performance tests 2. Performance sheets | Industry specific common knowledge | 2 | Describe your experience with being shocked? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.08 | 10.08 Explain how the electric company uses a demand meter. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific common knowledge | 2 | What is the difference between demand and consumption? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.09 | 10.09 Identify and explain the operations and applications of various types of electrical motors and their components as used in commercial heating and air-conditioning systems. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific common knowledge | 2 | What are some things that are motor driven in a building? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.1 | 10.10 Maintain, test and troubleshoot various types of commercial electrical motors and their components as used in commercial heating and air-conditioning systems. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific common knowledge | 2 | Describe a VFD controlled motor? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 10.11 | 10.11 Demonstrate the proper use of motor testing equipment. | X |  |  |  |  | X | 1. Performance test (Lab) 2. Performance sheets | Industry specific common knowledge | 2 | Explain how a volt meter works | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 11 | 11.0 Troubleshoot and wire electrical motors and their components--The student will be able to: |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific common knowledge | 2 | What wire colors are generally used for what voltage? | NCCER HVAC Level 1 Book | various | NCCER Certification
| 11.01 | 11.01 Identify and explain the functions of various types of motors and their components. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific common knowledge | 2 | What is a motor's purpose? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 11.02 | 11.02 Troubleshoot, test and analyze motors, using various methods. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific common knowledge | 2 | What settings can be used on a multi meter to T/S a motor and why? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 11.03 | 11.03 Identify, troubleshoot and wire various types of electric motors. | X |  |  |  |  | X | 1. Performance test (Lab) 2. Performance sheets | Industry specific common knowledge | 2 | What are all the possible failures of an A/C motor? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 11.04 | 11.04 Reverse the rotation of a motor. | [6 empty] | 1. Oral or written Presentation 2. Teacher observation | Industry specific common knowledge | 2 | List all the reasons for reversing the rotation of a motor? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12 | 12.0 Operate solid-state electronics as used in heating, air-conditioning and refrigeration systems--The student will be able to: |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific electrical knowledge | 2 | Define solid state electronics | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12.01 | 12.01 Explain the basic principles and functions of Direct Digital Control (DDC). |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | What does DDC stand for? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12.02 | 12.02 Explain basic solid-state circuits and boards. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Circuit boards in a residence runs on what voltage? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12.03 | 12.03 Identify, test and replace circuits and boards. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Explain how static electricity can harm a circuit board? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12.04 | 12.04 Identify and explain the functions of a building-management system. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | What are all of the imputs and outputs of a PC? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 12.05 | 12.05 Program a programmable thermostat. | X |  |  |  |  | X | 1. Performance test (Lab) 2. Performance sheets | Industry specific electrical knowledge | 2 | Express and explain your opinion on which is better running-AC all day or turn off while you are gone? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13 | 13.0 Evaluate single-phase and three-phase power as used in heating, air-conditioning and refrigeration systems --The student will be able to: |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific electrical knowledge | 2 | Explain typical residential vs commercial voltage | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13.01 | 13.01 Explain how the principles of designing an electrical system for residential heating and air-conditioning systems apply to commercial heating and air-conditioning systems. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific electrical knowledge | 2 | Describe the difference between a chiller & a residential AC unit? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13.01 | 13.01 Explain how the principles of designing an electrical system for residential heating and air-conditioning systems apply to commercial heating and air-conditioning systems. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific electrical knowledge | 2 | Describe the difference between a chiller & a residential AC unit? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13.02 | 13.02 Define and compare single- and multiphase voltage and current related to commercial heating and air-conditioning systems. |  |  | X | X |  |  | 1. Presentation or assigned by instructor 2. Student read text or in class for presentation | Industry specific electrical knowledge | 2 | Explain a package unit | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13.03 | 13.03 Calculate various circuit loads in commercial heating and air-conditioning applications using Ohm's law. |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Discuss the relationship between voltage, resistance & current | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 13.04 | 13.04 Troubleshoot electrical circuits for commercial heating and air-conditioning systems |  | X |  |  | X |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Discuss how a voltmeter measures voltage? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14 | 14.0 Explain the function of basic electronics--The student will be able to: |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Discuss the difference between electricity & electronics | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.01 | 14.01 Explain the basic theory of electronics and semiconductors. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Explain what a semiconductor is and how it works | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.02 | 14.02 Explain how various semiconductor devices such as diodes, LEDs and photo diodes work and how they are used in power and control circuits. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | What is a 1 way valve or check valve for-in plumbing? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.03 | 14.03 Identify different types of resistors and explain how their resistance values can be determined. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Discuss resistance in relationship to water flowing in a pipe. | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.04 | 14.04 Describe the operation and function of thermistors and cad cells. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | What is the difference between temp & heat? | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.05 | 14.05 Test semiconductor components. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | Discuss aligator clips vs Meter leads (differences & similarities) | NCCER HVAC Level 1 Book | various | NCCER Certification
Florida Standard 03.0 | 14.06 | 14.06 Identify the connectors on a personal computer. |  |  | X | X |  |  | 1. Oral or written Presentation 2. Teacher observation | Industry specific electrical knowledge | 2 | How does a PC communicate to the keyboard, mouse & monitor? | NCCER HVAC Level 1 Book | various | NCCER Certification