My Microscope Manual

How to use the Microscope:

1.

2.

3.

4.

On high power, why should you only use the fine adjustment knob?

Troubleshooting

| Problem | Solution |
| --- | --- |
| Everything is dark | Make sure that everything is plugged in. Make sure that everything is turned on. Make sure the objective lens is snapped into position. Make sure the light source control is set correctly. |
| The image is blurry on all powers. | Clean the microscopes ocular lens using lens paper. Clean the slide with tissue, paper towel, or cloth. |
| The image is blurry on only a particular power. | Clean the blurry objective lens using lens paper |
| I can’t find anything on low power! | Center the cover slip of the slide under the objective lens Adjust the focus using the coarse objective knob |
| When I switched to a higher power, everything disappeared. | Return to the previous (lower power) objective lens Center the object in the field of view Adjust the focus using the fine adjustment knob |